## Sheet1
Name of dataset | Data Source | Description
FloatingSolar_Scenario1 | WB Analysis | Potential zones for floating PV installation on existing dams for PVOUT > 4.2 kWh/kWp
FloatingSolar_Scenario2 | WB Analysis | Potential zones for floating PV installation on existing dams for PVOUT : 4.0 - 4.2 kWh/kWp
SuitableZones_Scenario1 | WB Analysis | Project opportunity zones for solar PV deployment in the areas with the best solar insulation resources, PVOUT > 4.4 kWh/kWp
SuitableZones_Scenario2 | WB Analysis | Project opportunity zones for solar PV deployment in the areas with very good solar insulation resources, PVOUT : 4.2 - 4.4 kWh/kWp
SuitableZones_Scenario3 | WB Analysis | Project opportunity zones for solar PV deployment in the areas with good solar insulation resources, PVOUT : 4.2 - 4.4 kWh/kWp
The geospatial analysis has been performed with the RE Zoning tool developed by Berkley Lab: http://mapre.lbl.gov/
The attribute fields generated from the analysis are presented in the table below
Attribute | Definition
FID | OBJECTID
zoneid | zone_identification
egen | electricity_generation_discounted_MWhPerYr
incap | installedCapacity_MW
area_km2 | area_km2
l_tra | LCOE_transmission_USDperMWh
l_sub | LCOE_substation_USDperMWh
l_road | LCOE_road_USDperMWh
l_gen | LCOE_generation_USDperMWh
lt_tra | LCOE_total_transmission_USDperMWh
lt_sub | LCOE_total_substation_USDperMWh
m_slope | mean_slope_percent
m_popden | mean_populationDensity_personsPerKm2
m_lulc | mean_LULC_score
m_coloc | mean_colocation_score
n_water | num_projectsWithWaterAccess
m_rq_wm2 | mean_resourceQuality_Wperm2
m_rq_kwhmd | mean_resourceQuality_kWhPerm2Day
m_cf | mean_capacityFactor
d_trans | distance_nearest_transmission_km
d_sub | distance_nearest_substation_km
d_road | distance_nearest_road_km
d_pv | distance_nearest_existingPlanned_PV_km
d_geo | distance_nearest_geothermalLocation_km
d_anyre | distance_nearest_anyRenewableEnergyLocation_km
d_load | distance_nearest_majorCity_km
d_water | distance_nearest_waterSource_km
aceczoneid | ACECzoneID
m_humfoot | mean_HumanFootprint_0to100
Shape_len | Shape_Length
Shape_area | Shape_Area
country | Country
lt_anyic | total_LCOE_interconn_USDperMWh